## INTRODUCTION
OPERATIONAL REQUIREMENTS
EXAMPLE 1: CNI
In this example we have used a fictitious Head Quarters building which houses a critical trading system. The building is located in an urban area. The risk assessment has identified a range of risks (terrorism and espionage) which need to be mitigated. Using the NPSA interactive diagram a range of holistic recommendations have been identified as potential solutions.
Use the tabs below to navigate between the OR sheet and the recommendations sheet

## OR
OR TEMPLATE: Site area, risks, mitigations and effectiveness
EXAMPLE: SITE DESCRIPTION: A headquarters building which also hosts a critical trading system. The site is located within an urban environment with public access. Security is taken seriously but there is a lack of financial resource for structural protective security measures
Area | Risk | Protective security recommendations * | Effectiveness (mostly met/ partially met)
Beyond the Perimeter (for this site this refers to the area beyond the façade of the building) | 1) Failure to detect a marauding firearms attack in sufficient time to enable lock down of the front entrance | M1 (AMBER)
M2 (GREEN)
Perimeter (for this site this refers to the building façade) | 1) Destruction of the part of the building through a vehicle borne improvised explosive device | M1 (AMBER)
M2 (GREEN)
M3 (GREEN)
M4 (GREEN)
M5 (RED)
M6 (AMBER)
Within the site (for this site this refers to the non-critical areas of the building) | 1) Compliance failure caused by unescorted visitor entering the trading floor | M7 (AMBER)
M8 (GREEN)
Building (for this site this refers to the entirety of the building) | 1) Destruction of part of the building through an internal detonation within the reception area | M2 (GREEN)
M5 (RED)
M6 (AMBER)
M9 (AMBER)
M10 (GREEN)
M11 (AMBER)
Asset (for this site this refers to the critical trading system and supporting infrastructure) | 1) Long term loss of market sensitive data facilitated through a trading floor IT administrator | M7 (AMBER)
M12 (RED)
M13 (AMBER)

## RECOMMENDATIONS
SECURITY MEASURES TEMPLATE
Security Layer/ Principle | Beyond the perimeter | ASSESS (RAG) | Perimeter | ASSESS (RAG) | Within the site | ASSESS (RAG) | Building | ASSESS (RAG) | Asset | ASSESS (RAG)
Deter -stop or displace the attack | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M7: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems) to implement robust procedures for issuing visitor access control passes to deter and detect any attempts to access the trading floor. Implement a two factor authentication access control system on the trading floor. | AMBER | M9: Using PAS 127: 2014 and NPSA Search and Screening advice to implement a proportionate process to deter and detect a Person Borne Improvised Explosive Device (PBIED) entering the building reception. Ensure the search area is as close to the first point of challenge as possible. | AMBER | M7: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems) to implement robust procedures for issuing visitor access control passes to deter and detect any attempts to access the trading floor. Implement a two factor authentication access control system on the trading floor. | AMBER
| M2: Delegate decision making to a local level to allow a rapid response to an incident, ensuring staff feel empowered to make and act upon their decisions. Exercise this delegate decision making to build confidence and improve response using the lessons learnt. | GREEN |  |  | M8: Emphasise the importance of challenging unescorted visitors when conducting any behaviour change programmes. Use the Security Principles When Using Automatic Access Control Systems video to inform those staff working on the trading floor on how to maintain the security of their working area. | GREEN | M11: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems), Protection from Forced Entry, Security Walling Systems and Doors advice to ensure detection and delay from any PBIED attempting to progress beyond the reception area into the building. | AMBER | M12: Use the Ongoing Personnel Security advice to develop and plan effective measures to deter and detect insider activity | RED
Detect -verify an attack, initiate the response | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M7: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems) to implement robust procedures for issuing visitor access control passes to deter and detect any attempts to access the trading floor. Implement a two factor authentication access control system on the trading floor. | AMBER | M9: Using PAS 127: 2014 and NPSA Search and Screening advice to implement a proportionate process to deter and detect a Person Borne Improvised Explosive Device (PBIED) entering the building reception. Ensure the search area is as close to the first point of challenge as possible. | AMBER | M7: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems) to implement robust procedures for issuing visitor access control passes to deter and detect any attempts to access the trading floor. Implement a two factor authentication access control system on the trading floor. | AMBER
[5 empty] | M8: Emphasise the importance of challenging unescorted visitors when conducting any behaviour change programmes. Use the Security Principles When Using Automatic Access Control Systems video to inform those staff working on the trading floor on how to maintain the security of their working area. | GREEN | M11: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems), Protection from Forced Entry, Security Walling Systems and Doors advice to ensure detection and delay from any PBIED attempting to progress beyond the reception area into the building. | AMBER | M12: Use the Ongoing Personnel Security advice to develop and plan effective measures to deter and detect insider activity | RED
[9 empty] | M13: Use the Holistic Management of Employee Risk (HoMER) guidance to improve the detection and monitoring of employee activities within the trading floor and its associated IT systems. | AMBER
Respond - apprehend the attack and prevent further progress of the attack | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M1: Ensure that a terrorist attack can be rapidly detected and responded to, by improving the speed of response of detection systems, CCTV/Lighting, reception and control room functions. The Control Room, Intruder Detection, Tracking, Monitoring and Lighting and Threat Specific Mitigation pages provide guidance on the correct application of these technologies. | AMBER | M8: Emphasise the importance of challenging unescorted visitors when conducting any behaviour change programmes. Use the Security Principles When Using Automatic Access Control Systems video to inform those staff working on the trading floor on how to maintain the security of their working area. | GREEN | M2: Delegate decision making to a local level to allow a rapid response to an incident, ensuring staff feel empowered to make and act upon their decisions. Exercise this delegate decision making to build confidence and improve response using the lessons learnt. | GREEN | M13: Use the Holistic Management of Employee Risk (HoMER) guidance to improve the detection and monitoring of employee activities within the trading floor and its associated IT systems. | AMBER
|  |  | M2: Delegate decision making to a local level to allow a rapid response to an incident, ensuring staff feel empowered to make and act upon their decisions. Exercise this delegate decision making to build confidence and improve response using the lessons learnt. | GREEN |  |  | M6: Develop appropriate procedures for in-vacuation and evacuation using an appropriately qualified security consultant to identify the areas which provide the best recommendations from the risk from VBIED/PBIED. Exercise in-vacuation and evacuation procedures on a regular basis. | AMBER
Delay - prevent the attack from reaching the asset |  |  | M3: Select appropriate Hostile Vehicle Mitigation, factoring in the vehicle borne threat, vulnerabilities, day-to-day operation/function of barriers, required stand-off distance between asset and threat. | GREEN | M7: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems) to implement robust procedures for issuing visitor access control passes to deter and detect any attempts to access the trading floor. Implement a two factor authentication access control system on the trading floor. | AMBER | M11: Use the NPSA Assured Automatic Access Control Systems (for pedestrian systems), Protection from Forced Entry, Security Walling Systems and Doors advice to ensure detection and delay from any PBIED attempting to progress beyond the reception area into the building. | AMBER
Mitigate - minimise the consequences of an attack |  |  | M3: Select appropriate Hostile Vehicle Mitigation, factoring in the vehicle borne threat, vulnerabilities, day-to-day operation/function of barriers, required stand-off distance between asset and threat. | GREEN |  |  | M10: Use an appropriately qualified security consultant to identify structural vulnerabilities within the reception area and recommend appropriate recommendations e.g. the use of blast resistant glazing to protect the reception staff. | GREEN
|  |  | M4: Use an appropriately qualified security consultant to determine the vulnerability of the building and recommend appropriate recommendations to an explosive event. | GREEN
|  |  | M5: Mitigate the risk from vehicle and person borne improvised explosive device (VBIED/PBIED) by moving critical business functions from vulnerable areas of the building. Use an appropriately qualified security consultant to identify the areas which provide the best recommendations from the risk from VBIED/PBIED. | RED
|  |  | M6: Develop appropriate procedures for in-vacuation and evacuation using an appropriately qualified security consultant to identify the areas which provide the best recommendations from the risk from VBIED/PBIED. Exercise in-vacuation and evacuation procedures on a regular basis. | AMBER